## Summary
ELECTRICITY CONSUMPTION COMPARATIVE STUDY
Laundry Room - Operating Scenarios
Study date: July 6, 2026
GENERAL INFORMATION
Electricity rate | 0.1765
Test period | 7 days
Machines studied | 4 (M1, M2, M3, M4)
MACHINE SPECIFICATIONS
Machine | Current (A) | Voltage (V) | Power (W) | Type
M1 - Washing Machine | 0.2 | 380 | 76 | High voltage
M2 - Washing Machine | 0.2 | 380 | 76 | High voltage
M3 - Dryer | 0.06 | 220 | 13.2 | Low voltage
M4 - Dryer | 0.08 | 220 | 17.6 | Low voltage
ANNUAL COMPARISON
Scenario | Consumption (kWh/yr) | Cost ($/yr) | Savings ($/yr) | % Savings
Scenario 1 (On 8am-9pm) | 867.386 | 153.0936 | - | -
Scenario 2 (Unplugged when not in use) | 456.5681 | 80.5843 | 72.5094 | 47.36%

## Scenario 1 - Powered On
SCENARIO 1: MACHINES ON 8:00 AM - 9:00 PM
Continuous consumption (use + standby) - Test period: 7 days
Day | Hours on | Hours in use | Hours standby | M1 kWh | M2 kWh | M3 kWh | M4 kWh | Total kWh | Total $
Monday | 13 | 6.1 | 6.9 | 0.988 | 0.988 | 0.1716 | 0.2288 | 2.3764 | 0.41943
Tuesday | 13 | 7.6 | 5.4 | 0.988 | 0.988 | 0.1716 | 0.2288 | 2.3764 | 0.41943
Wednesday | 13 | 6.5 | 6.5 | 0.988 | 0.988 | 0.1716 | 0.2288 | 2.3764 | 0.41943
Thursday | 13 | 7.2 | 5.8 | 0.988 | 0.988 | 0.1716 | 0.2288 | 2.3764 | 0.41943
Friday | 13 | 6.8 | 6.2 | 0.988 | 0.988 | 0.1716 | 0.2288 | 2.3764 | 0.41943
Saturday | 13 | 7.4 | 5.6 | 0.988 | 0.988 | 0.1716 | 0.2288 | 2.3764 | 0.41943
Sunday | 13 | 6.3 | 6.7 | 0.988 | 0.988 | 0.1716 | 0.2288 | 2.3764 | 0.41943
WEEKLY TOTAL | [7 empty] | 16.6348 | 2.936
PROJECTIONS
Daily average | [7 empty] | 2.3764 | 0.41943
Monthly (30.44 days) | [7 empty] | 72.3376 | 12.7676
Annual (365 days) | [7 empty] | 867.386 | 153.0936

## Scenario 2 - Unplugged
SCENARIO 2: MACHINES UNPLUGGED WHEN NOT IN USE
Consumption only during use - Test period: 7 days
Day | Hours in use | Hours off | M1 kWh | M2 kWh | M3 kWh | M4 kWh | Total kWh | Total $
Monday | 6.1 | 17.9 | 0.4636 | 0.4636 | 0.0805 | 0.1074 | 1.1151 | 0.19682
Tuesday | 7.6 | 16.4 | 0.5776 | 0.5776 | 0.1003 | 0.1338 | 1.3893 | 0.24521
Wednesday | 6.5 | 17.5 | 0.494 | 0.494 | 0.0858 | 0.1144 | 1.1882 | 0.20972
Thursday | 7.2 | 16.8 | 0.5472 | 0.5472 | 0.095 | 0.1267 | 1.3162 | 0.23231
Friday | 6.8 | 17.2 | 0.5168 | 0.5168 | 0.0898 | 0.1197 | 1.243 | 0.21939
Saturday | 7.4 | 16.6 | 0.5624 | 0.5624 | 0.0977 | 0.1302 | 1.3527 | 0.23875
Sunday | 6.3 | 17.7 | 0.4788 | 0.4788 | 0.0832 | 0.1109 | 1.1516 | 0.20326
WEEKLY TOTAL | [6 empty] | 8.7561 | 1.5455
PROJECTIONS
Daily average | [6 empty] | 1.2509 | 0.22078
Monthly (30.44 days) | [6 empty] | 38.0765 | 6.7205
Annual (365 days) | [6 empty] | 456.5681 | 80.5843

## Detailed Comparison
DETAILED COMPARISON BY PERIOD
Period | Scenario 1 kWh | Scenario 1 $ | Scenario 2 kWh | Scenario 2 $ | Savings kWh | Savings $ | % Savings
Daily (average) | 2.3764 | 0.41943 | 1.2509 | 0.22078 | 1.1255 | 0.19866 | 47.36%
Monthly | 72.3376 | 12.7676 | 38.0765 | 6.7205 | 34.2611 | 6.0471 | 47.36%
Annual | 867.386 | 153.0936 | 456.5681 | 80.5843 | 410.8179 | 72.5094 | 47.36%